Sub grade Earthworks Filling Construction

Technology Chart

Construction preparation

Surveying

Sub grade laying out

Site clearance

Sub grade bottom

Loose soil impacting

Choosing mate rids

Filling by layer

Paving &leveling

Rolling by machine

Checking density

Pre-pressure

Sinking period

Leveling & forming

Removing and changing

Checking

Watering or drying

Impacting testing

Machine cutting

Organizing machine &materials

Side pile & side slope

Re-survey central line & elevation

Technology scheme

Impacting testing

Drainage facilities